Utility Name

Date: October 2015

Version: 3.1

Drinking Water Management System

Annual Report Template {Year}

Document control

| Date | Change made | Person |
| --- | --- | --- |

Guidance

This report template is designed to address the  reporting (Element 10), evaluation (Element 11) and review and continual improvement (Element 12) requirements of [Utility’s Name] Drinking Water Management System (DWMS).

The NSW Guidelines for Drinking Water Management Systems (2013) recommends review of the following areas:

Performance of critical control points

Water quality review (raw, treated and distribution water quality including verification monitoring in the NSW Health Drinking Water Database)

Levels of Service (including consumer complaints)

Incident and emergencies (including follow up)

Drinking Water Management System implementation

Continuous improvement plan implementation

Review of system performance should be against ADWG, levels of service, NSW Water Supply and Sewerage Performance Monitoring Reports and other regulatory requirements (Element 1).

Shortcomings should be captured in the Improvement Plan (Element 12).

Executive Summary

Include a summary of the annual report findings for the reporting period here.

Include a summary of CCP exceedances for the reporting period here.

Critical Control Points

|  | CCP1 | CCP2 | CCP3 |
| --- | --- | --- | --- |
| Number of CCP exceedances |  |  |  |

Water quality

Include a summary of water quality issues for the reporting period here.

Continuous improvement plan

Include a summary of progress towards implementing continuous improvement plan actions here.

|  | Completed | In progress | Items added | Total |
| --- | --- | --- | --- | --- |
| Number of actions |  |  |  |  |

DWMS Reviews

Include a summary of internal and external DWMS reviews here.

| Review | Scope | Findings | Actions taken |
| --- | --- | --- | --- |

Reservoir inspections

Include a summary of reservoir inspections here.

| Date | Reservoirs inspected | Findings | Corrective actions |
| --- | --- | --- | --- |

Contents

Document control	ii

Guidance	ii

Executive Summary	i

Critical Control Points	i

Water quality	i

Continuous improvement plan	i

DWMS Reviews	i

Reservoir inspections	i

1	Report purpose	1

2	Scheme summary	1

3	DWMS document control	1

4	Critical control points	2

4.1	Critical limit exceedance	2

4.2	Fluoride Critical limit exceedance	2

5	Water Quality	3

5.1	Data collection	3

5.2	Non-compliant data	3

5.3	Water quality discussion	3

6	Consumer complaints	3

7	Water quality incidents	3

8	Staff Development and Training	3

9	Continuous improvement plan	4

10	Review of DWMS implementation	4

11	Reservoir inspections	4

Appendix A	Water quality data	A-1

A.1	Water quality graphs	A-1

A.2	Water quality data summary	A-1

A.2.1	Raw Water	A-1

A.2.2	Treated Water	A-1

A.2.3	Reticulation	A-3

A.2.4	Verification monitoring	A-3

Appendix B	Continuous improvement plan	B-4

Tables

Table 4-1. Summary of critical control points	2

Table 4-2. Critical limit exceedances	2

Table 5-1. Summary of non-compliant water quality data	3

Table 6-1. Summary of incident and emergencies, recommendations and corrective actions	3

Table 7-1. Action/improvement plan activities that have been completed during the period XX/XX	3

Table 8-1. Summary of internal reviews	4

Table 9-2. Summary of external reviews	4

Figures

Figure 4-1. Critical control point	2

# Report purpose

Include the utility name, reporting period and purpose of the report here.

# Scheme summary

Include a summary of the scheme here including:

Supply system name

Source water

Treatment unit processes

Type and numbers of connections at the beginning and end of the year

Upgrade or system improvements details

| Checklist |  |
| --- | --- |
| Have there been any system upgrades within the reporting period? | ☐ |
| Upgrade or system improvements details have been provided | ☐ |

# DWMS document control

Include a summary of  updates to DWMS documentation here.

Major changes should be submitted to NSW Health Public Health Unit.

| Document | Version | Updates | Submitted to NSW Health and date submitted? |
| --- | --- | --- | --- |

# Critical control points

Include a summary of CCPs here and provide details of any changes to critical control points or critical limits. CCPs should be reviewed each year to confirm their validity.

Table 4-1. Summary of critical control points

| CCP number | Monitoring Parameter | Target criterion | Adjustment limit | Critical limit |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |

## Critical limit exceedance

Include a summary of the  performance of the critical control points here.  Report any exceedances over the reporting period including:

the reason for the exceedance

immediate action taken

preventive action undertaken to prevent a recurrence of the exceedance

A monitoring template is available that can be used to record and plot monitoring data.

Table 4-2. Critical limit exceedances

| Date | CCP1 | CCP2 | CCP3 | CCP4 | CCP5 | CCP6 | Water quality issue | Reason | Immediate correction | Preventive Action |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| e.g. XX/XX/XX |  | e.g. 20 NTU |  |  |  |  |  | e.g. Equipment failure | e.g. Plant shut down, PHU notification | e.g. Maintenance schedule review |

Include CCP graphs if desired.

Figure 4-1. Critical control point

## Fluoride Critical limit exceedance

# Water Quality

Include a review of water quality data from the previous year and an analysis of longer term trends here.

## Data collection

Include a summary of monitoring undertaken, details of any reviews of the monitoring schedules that were undertaken and any outcomes of these reviews.

## Non-compliant data

Include a summary of any non-compliant data or water quality issues in addition to critical limit exceedances here.  Include details of the corrections and preventive actions that were implemented.

Table 5-1. Summary of non-compliant water quality data

| Date | Location | Parameter | Exceedance | Correction | Preventive action | Notes |
| --- | --- | --- | --- | --- | --- | --- |
| e.g. Xx/xx/xx | e.g. Reservoir | e.g. E. coli | e.g. 10 cfu | e.g. Retest, PHU notified, Pipe break fix, flushing, retest | e.g. Review of maintenance schedule | Pipe break |

## Water quality discussion

Include a discussion of the water quality results including any positive microbiological results and what actions were taken and any trends in the chemical results.

# Consumer complaints

Include details of any water quality complaints and any lessons learnt here.

# Water quality incidents

Include details of any water quality incidents/emergencies that have occurred over the reporting period here. Include details of investigation recommendations and any corrective actions undertaken as a result of the incident/emergency.

Table 7-1. Summary of incident and emergencies, recommendations and preventive actions

| Details of incident/emergency | Investigation recommendations | Preventive action undertaken |
| --- | --- | --- |

# Staff Development and Training

Include staff development and training courses completed here

# Continuous improvement plan

Include a summary of continuous improvement plan activities that have progressed, been completed or been added during the reporting period here. Include the full continuous improvement plan in Appendix B.

Table 8-1. Continuous improvement plan activities that have progressed, been completed or been added during the period XX/XX

| Action no. | Item | Progress | Date for completion | Who is responsible |
| --- | --- | --- | --- | --- |
| e.g. 5.2 | e.g. Review verification monitoring sites after first year to ensure sampling sites are representative | e.g. Sites have been reviewed. Three sample sites have been reallocated due to the expansion of the supply area. | Xx/xx | e.g. J. Smith |

# Review of DWMS implementation

Include a summary of any internal or external reviews of the DWMS and implementation here. Include details of relevant findings and any actions taken or identified.

Table 9-1. Summary of internal reviews

| Date | Reviewer | Scope | Findings | Actions |
| --- | --- | --- | --- | --- |
| Xx/xx/xx | e.g. J. Smith, A. John | e.g. Drinking Water Policy | e.g. Fully Compliant – Council reviewed and endorsed the water policy on XX/XX/XX. | - |
|  |  | e.g. Verification Monitoring | e.g. Council has undertaken all required verification monitoring | - |

Table 9-2. Summary of external reviews

| Date | Reviewer | Scope | Findings | Actions |
| --- | --- | --- | --- | --- |
| XX/XX/XX | XXX | e.g. Peer review of critical control points and monitoring program | e.g. Critical control procedures are not documented | e.g. Protocols documented and reviewed by operational staff |

# Reservoir inspections

Include a summary of any reservoir inspections undertaken during the reporting period here. Include details of any corrective actions undertaken and any planned future work.

| Date | Reservoirs inspected | Findings | Corrective actions |
| --- | --- | --- | --- |
| XX/XX/XX | e.g. Reservoir 1 | Entry hatch is not sealed | Hatch has been sealed. |

###### Water quality data

Water quality graphs

Include summary water quality graphs here:

Water quality data summary

Include a summary of available water quality data over the reporting period here:

Raw water

Treated water

Reticulation

Verification

- This data can be generated using the monitoring template spreadsheet.

Raw Water

| Parameter | Minimum | Average | Maximum | Lower critical limit | Upper critical limit | No. samples |
| --- | --- | --- | --- | --- | --- | --- |

Treated Water

| Parameter | Minimum | Average | Maximum | Lower critical limit | Upper critical limit | No. samples |
| --- | --- | --- | --- | --- | --- | --- |

Reticulation

| Parameter | Minimum | Average | Maximum | Lower critical limit | Upper critical limit | No. samples |
| --- | --- | --- | --- | --- | --- | --- |

Verification monitoring

- Include a summary of NSW Health’s Drinking Water Monitoring Program data here.

| Parameter | Location | Minimum | Average | Maximum | ADWG Limit | No. exceed-ances | No. samples |
| --- | --- | --- | --- | --- | --- | --- | --- |

###### Continuous improvement plan

- Include the full continuous improvement plan here. Include details of:

- progress

- who is responsible

- the date for completion.

| Action no. | Item | Progress | Date for completion | Who is responsible |
| --- | --- | --- | --- | --- |