Certificate of Conformity

for AFILS according to IEC 60118-4:2006

Designed to be used in conjunction with the test and commissioning procedure

| 1 | Volume of use | Determine required area & height for hearing aid use |  |  |
| --- | --- | --- | --- | --- |
|  |  | Seated only: |  | Typical: 1.2m Possible range: 1.0m to 1.4m |
|  |  | Standing: |  | Typical: 1.7m Possible range: 1.0m to 2.0m |

Sketch of floorplan, and target coverage area: (indicate scale / dimensions)

Determine 4 to 6 points (e.g. A to F) inside the floorplan to examine – center, corner, sides, front / back etc

| Measurement point |  |  |  |  | A |  | B | C | D |  | E | F |  | G | H | J | K |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| height (in meters) = |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Background noise |  |  |  | Investigate the target coverage area for noise, and indicate any problem zones on the floorplan. |  |  |  |  |  |  |  |  |  | Areas >-22dB Areas >-32dB |  |  |
| 3 | Field strength |  |  | initial |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | final |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Frequency response |  |  |  | 100Hz and 5kHz should be ±3dB relative to the 1kHz reading |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | initial | 100Hz |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1kHz |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 5kHz |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | final | 100Hz |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1kHz |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 5kHz |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Field strength confirm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Overspill |  |  |  | Is test required ? Yes No |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | System use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Customer: |  |  |  |  |  | Installer Co: |  |  |  |  |  |  | Equipment: |  |  |  |  |
| Venue: |  |  |  |  |  | Installer Name: |  |  |  |  |  |  | Serial No(s) |  |  |  |  |
| Room: |  |  |  |  |  | Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Other details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Declaration that the system has been commissioned to achieve performance as required by IEC60118-4:2006.

Signed:	Dated:

DX30013-1