PW&S  Building Log Sheet
Month                           Year                        Building                                                            #                                        Plant Rating (kws)                               Chief Operating Engineer                                    Phone # (w)                          (h) 
Retain this sheet in the Building Log Book Mechanical Section for One (1) year.  
Use of this or any other check sheet t is to be in combination with, not in place off Regular Log Book
	Date
	In Service

Boiler Pressure

#             #
	Boiler Flue Gas

Temp.  Record

While  Firing

#         #
	Visual

Check

of

Flame
	Heating

System Supply

Temp
	Heating

System Supply

Press
	Heating

System

Return

Temp
	Heating

System

Return

Press
	Check of

all Pumps
	Visual Check of

Heat Sys
	Check

Comb. Air
	Check

Exp. Tank
	Outside

Air

Temp
	Supply

Air

Temp.
	Sprinkler

Supply

Pressures

#1    #2
	Sprinkler

System

Pressures

#1    #2
	Check

Fire Alarm Panel

Status
	
	
	Operator
	Weekly Checks

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	Initial
	Wk1
	Wk2
	Wk 3
	Wk 4

	Normal
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	Fuel Tank Level
	
	
	
	

	1
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	A.H.U Filters
	
	
	
	

	2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	Ventilation Sys. Timer
	
	
	
	

	3
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	4
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	6
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	Monthly Checks

	7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	8
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	Review Condition of and/or Test Each Item 

Signature 

 Date

	9
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	10
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	11
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	( These items are required by A.S.M.E. VI. (Referenced by Boiler Act.)

	12
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	13
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	(Flame Detection Devices.

	14
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	(Limit Controls


	15
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	(Control Devices

	16
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	(Control Devices

	17
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	(Operating Controls

	18
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	(Check Valves

	19
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	(Stop Valves

	20
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	(Drain Valves

	21
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	(Low Water Cutoff

	22
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	(Fuel Pumps / Piping

	23
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	(Check Boiler Refractory (I/A)

	24
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	25
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	Perform Combustion Analysis Test.  Attach Copy of Test Results to this Sheet or Place in Log Book.

Indicate Boiler(s) Tested

 #____        # ____ 

Signature________________________

	26
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	27
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	28
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	29
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	30
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	31
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	


