SITE DESCRIPTION

Project Name and Location:
_______________________________





_______________________________ 






_______________________________

Owner:



__________________________ 





_______________________________ 






_______________________________ 

Description:

This project will consist of: 

____________________________________________________________.

Soil disturbing activities will include:

Runoff Coefficient:
The final coefficient of runoff for the site will be  ______.
Site Area:
The site is approximately 12.0 acres of which 10.5 acres will be disturbed by construction activities.

Sequence of Major Activities – See project schedule for activities

Name of Receiving Waters:

The runoffs to inlets will be into:
_____________________________________________________________

_____________________________________________________________

CONTROLS

Erosion and Sediment Controls

A list of best management procedures (BMPs) has been developed and the locations of these BMPs are shown on sheet BMP.  A number of the BMPs included in this plan have been developed to serve as post-construction storm water controls
Stabilization Practices

Temporary Stabilization – Temporary soil stock piles and disturbed portion of the site where construction activity temporarily ceases for at least 21 days will be stabilized with temporary seed and mulch no later that 14 days from the last construction activity in that area.  The temporary seed shall be Rye (grain) applied at the rate of 120 pounds per acre.  Prior to seeding, 2000 pounds of ground agricultural limestone and 1000 pounds of 10-10-10 fertilizer shall be applied to each acre to stabilize.  After seeding, each area shall be mulched with 4,000 pounds per acre of straw.  The straw mulch is to be tacked into place by whatever means necessary.  Areas of the site which are to be paved will be temporary stabilized by applying stone sub-base until bituminous can be applied.  Silt fencing will installed around the perimeter and sinkhole sediment areas prior to the start of clearing and grubbing. Erosion control matting identified in the base bid.

Permanent Stabilization -  Disturbed portions of the site where construction activities permanently ceases shall be stabilized with permanent seed no later than 14 days after the last construction activity.  The permanent seed mix shall consist of 3 to 4 lb/1000 sq. ft. Turf Type Tall Fescue and Perennial Ryegrass.  Prior to seeding, slow release fertilizer, granular or pelleted type shall be applied to ground based upon the recommendations per soil test.  After seeding, each area shall be mulched with 2,000 pounds per acre of straw.  The straw mulch is to be spread uniformly to form a continuous blanket 1 –1/2 inches in loose depth.  Geo-stream controls are to be installed immediately upon completion of rough grading, removed for final grading and immediately re-installed after completion.

Structural Practices – Drain inlets and outlets will be protected with rock by means of creating check dams.  Silt fencing will be used to control sediment erosion.

(see BMP sheet plan for complete sediment control practices)

Storm Water Management – Storm water drainage will be provided by: 
________________________________________________.  The areas that are not developed will be graded at less the 0.5:1 and have permanent seeding or planting. Approximately ________ of the site will remain untouched and its natural state.

OTHER CONTROLS

Waste Materials – All waste materials will be collected and stored in a dumpster rented for the ______________, which is a licensed solid waste management company in ____________.  The dumpster will meet all ____________________

________________________.  All trash and construction debris from the site will be deposited in the dumpster.  The dumpster will be emptied a minimum of twice per week or more often if necessary, and the trash will be hauled to Kenway Dump.  No construction waste materials will be buried onsite.  All personnel will be instructed regarding the correct procedures for waste disposal.  Notices stating these practices will be posted in the office trailer and _______, the on site superintendent, will be responsible for seeing that these procedures are followed.

To prevent storm water contamination from job-site, the following BMPs will be implemented:

· Fertilizers will be applied only in the minimum amounts recommended by the manufacturer; fertilizers will be worked into the soil to limit exposure to storm water.

· All vehicles on site will be monitored for leaks

· Petroleum products will be stored in tightly sealed containers, which are clearly labeled.

· Spill kits will be located on job-site (use for fueling activities and maintenance)

· Any asphalt substances used onsite will be applied according to the manufacturer’s recommendation.

· All paint containers and curing compounds will be tightly sealed and stored when not required for use.  Excess paint will be properly disposed according to the manufacturer’s instructions.  (done by painting contractor)

· All spills will be cleaned up immediately upon discovery

· Concrete trucks will have to clean out in one designated area that is provided by the onsite superintendent.

· A stabilized construction entrance will be constructed to reduce vehicle tracking of sediments.

· The paved street adjacent to the site will be swept to remove excess mud, dirt, or rock tracked from the site.

Hazardous Waste – All hazards waste materials will be disposed of in the manner specified by local and State regulations or by the manufactured.  Site personnel will be instructed in these practices and __________, the on site superintendent, will be responsible for seeing that these practices are followed.

Sanitary Waste – All sanitary waste will collected from the portable units a minimum of twice per week by the ___________________, a licensed _______ ___________ sanitary waste management contractor, as required by local regulations.

Certification of Compliance with Federal, State, & Local Regulations

The storm water pollution plan reflects Kentucky Pollutant Discharge Elimination System (KPDES) requirements for storm water management and erosion and sediment control.  Submission of the Notice of Intent constitutes notice that the party identified in Section 1 of form intends to be authorized by a KDPES permit issued for storm water discharges associated with construction activity.

MAINTENANCE/INSPECTION PROCEDURES

These are the inspection and maintenance practices that will be used to maintain erosion and sediment controls.

· All control measures will be inspected at least once each week and following any storm event of 0.5 inches or greater.

· All measures will be maintained in good working order; if a repair is necessary, it will be initiated within 24 hours of report.

· Built up sediment will be removed from silt fence when it has reached one-third the height of the fence.

· Silt fence will be inspected for depth of sediment, tears, to see if the fabric is securely attached to the fence posts, and to see that the fence posts are firmly in the ground.

· The sediment check damns will be inspected for depth of sediment, and built up sediment will be removed when it reaches 10 percent of the design capacity or at the end of the job.

· Temporary and permanent seeding and planting will be inspected for bare spots, washout, and healthy growth.

· A maintenance inspection report will be made after each inspection. A copy of the report will be filed for future reference.

· The job site superintendent will be responsible for inspections, maintenance, and repair activities.  (assigning help for other contractors on jobsite)

· Personnel selected for inspections and maintenance will receive training from the job site superintendent.  They will be trained in all the inspection and maintenance practices necessary for keeping the erosion and sediment controls used on site in good working order.

NON-STORM WATER DISCHARGES

It is expected that the non-storm water discharges will occur from the site during the construction period:

· Water from water line flushing.

· Pavement wash waters (where no spills or leaks of toxic or hazardous materials have occurred).

· Uncontaminated groundwater 

· Discharges from fire hydrant flushing

INVENTORY FOR POLLUTION PREVENTION PLAN

The materials or substances listed below are expected to be present onsite during construction:

· Concrete

· Detergents

· Paints (enamel & latex)

· Metal Studs

· Fertilizers

· Petroleum Based Products

· Cleaning Solvents

· Wood

· Masonry Block

SPILL PREVENTION

Material Management Practices

The following are the material management practices that will be used to reduce the risk of spills or other accidental exposure of materials and substances to storm water runoff.

Good Housekeeping:

The following good housekeeping practices will be followed onsite during the construction project.

· An effort will be made to store only enough product required to do the job

· All materials stored onsite will be stored in a neat, orderly manner in their appropriate containers and, if possible, under a roof or other enclosure

· Products will be kept in their original containers with the original manufacturer’s label

· Substances will not be mixed with one another unless recommended by the manufacturer

· Whenever possible, all of a product will be used up before disposing of the container

· Manufacturers’ recommendations for proper use and disposal will be followed

· The job site superintendent will inspect daily to ensure proper use and disposal of materials onsite.

Hazardous Products:

These practices are used to reduce the risks associated with hazardous materials.

· Products will be kept in original containers unless they are not resealable

· Original labels and material safety data will be retained; they contain important product information

· If surplus product must be disposed of, manufacturers’ or local and State recommended methods for proper disposal would be followed.

Product Specific Practices

The following product specific practices will be followed onsite:

Petroleum Products – All onsite will be monitored for leaks and will be ask to provide preventive maintenance records if needed.  Petroleum products will be stored in tightly sealed containers, which are clearly labeled.  Any asphalt substances used onsite will be applied according to the manufacturer’s recommendations.

Fertilizers – Fertilizers used will be applied only in the minimum amounts recommended by the manufacturer.  Once applied, fertilizer will be worked into the soil to limit exposure to storm water. Any unused materials should be removed from the site.

Paints – All containers will be tightly sealed and stored when not required for use.   Excess paint will not be discharged to the storm sewer system but will be properly disposed of according to the manufacturer’s instructions of State and local regulations.

Concrete Trucks- Concrete trucks will have to wash out or discharge surplus concrete at the location that the job site superintendent has provided and do so until job is complete.  Once job is completed the dried concrete will have to be removed from the site.

SPILL CONTROL PRACTICES

In addition to the good housekeeping and material management practices discussed in the previous sections of this plan, the following practices will be followed for spill prevention and cleanup:

· Manufacturer’s recommended methods for spill cleanup will be available on the job site and personnel will be made aware of the procedures, location of information, and cleanup supplies.

· Materials and equipment necessary for spill cleanup will be kept in the storage trailer of the superintendent.  The materials and equipment will include the but not be limited to brooms, dust pans, mops, rags, gloves, goggles, floor absorbent, sand, sawdust, and plastic or metal trash containers specifically for this purpose.

· All spills will be cleaned up immediately after discovery.

· The spill area will be kept well ventilated and personnel will wear appropriate protective clothing to prevent injury for contact with hazardous substance.

· Spills of toxic or hazardous material will be reported to the appropriate State and local government agency, regardless of the size.

· The spill prevention plan will be adjusted to include measures to prevent this type of spill from reoccurring and how to clean up the spill if there is another one.  A description of the spill, what caused it, and the cleanup measures will also be included.

· The job site superintendent responsible for the day-to-day site operations, will be the spill prevention and cleanup coordinator.  He will have other contractors on site would will help with the prevention and cleanup.  The personnel names will be posted in the office job trailer onsite.  (note pertaining to cleanup, trade that has a spill will be responsible for helping with the cleanup along with the job site superintendent).

POLLUTION PREVENTION PLAN CERTIFICATION                          

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including possibility of fine and imprisonment for knowing violations.

Signed:_________________


_________________


_________________


_________________

Date:__________________

INSPECTION AND MAINTENANCE REPORT FORM

TO BE COMPLETED EVERY 7 DAYS AND WITHIN 24 HOURS 

OF A RAINFALL EVENT OF 0.5 INCHES OR MORE

INSPECTOR:__________________DATE:__________________

INSPECTOR’S QUALIFICATIONS:

______________________________________________________________________________________________________________
DAYS SINCE LAST RAINFALL:_____AMOUNT OF LAST RAINFALL ___INCHES

STABILIZATION MEASURES

AREA
____________________________________________________________________________________________________________________________________________________

DATE SINCE LAST DISTURBED___________________________

DATE OF NEXT DISTURBANCE___________________________

STABILIZED? (YES/NO)_________________________________

STABILIZED WITH
___________________________________________________
___________________________________________________

CONDITION
______________________________________________________________________________________________________
STABLIZATION REQUIRED:
___________________________________________________
___________________________________________________

___________________________________________________

___________________________________________________

TO BE PERFORMED BY:____________ON OR BEFORE:________

INSPECTION AND MAINTENANCE REPORT FORM

SEDIMENT BASIN

DEPTH OF SEDIMENT IN BASIN___________________________

CONDITION OF BASIN SIDE SLOPES
___________________________________________________
___________________________________________________

_____________________________________________________________

MAINTENANCE REQUIRED FOR SEDIMENT BASIN:

___________________________________________________

___________________________________________________

TO BE PREFORMED BY:_________ON OR BEFORE____________

OTHER CONTROLS

STABILIZED CONSTRUCTION ENTRANCE

DOES MUCH SEDIMENT GET TRACKED ON TO ROAD?__________

IS GRAVEL CLEAN OR IS IT FILLED WITH SEDIMENT?__________

DOES ALL TRAFFIC USE THE STABILIZED ENTRANCE TO LEAVE SITE?__________

MAINTENANCE REQUIRED FOR STABILIZED CONSTRUCTION ENTRANCE:
____________________________________________________________________________________________________________________________________________________________________________________________________________
TO BE PREFORMED BY:_____________ON OR BEFORE________

INSPECTION AND MAINTENANCE REPORT FORM

CHANGES REQUIRED TO THE POLLUTION PREVENTION PLAN:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

REASONS FOR CHANGES:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who manage the system, those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

Signature:_______________________________Date:_________________________

CONTRACTOR’S CERTIFICATION

I certify under penalty of law that I understand the terms and conditions of the general National Pollutant Discharge Elimination System (NPDES) permit that authorizes the storm water discharges associated with industrial activity from the construction site identified as part of this certification.

Name:

Title:

Responsible for:

Company Name:

Address:

Phone: 


