	[image: image1.png]Q Minnesota Pollution
Control Agency
520 Lafayette Road North
St. Paul, MIN 55155-4194




	Sewage Tank Maintenance

Reporting Form

Subsurface Sewage 
Treatment Systems (SSTS) Program


Purpose:  Management and maintenance of Subsurface Sewage Treatment Systems (SSTS) are important to ensure resource protection and long-term and cost-effective sewage treatment. Completion of this form complies with the sewage tank maintenance requirements under Minn. R. 7080.2450 and 7082.0600. This form may be used to certify the compliance status of the sewage tank components of the SSTS. This form is not a complete SSTS inspection report and may only certify sewage tank compliance status when entirely completed and signed on page 3 by a qualified professional.
Instructions:  A copy of this information must be submitted to the system owner within 30 days of the maintenance date and be maintained by the licensed SSTS maintainer business for a period of five (5) years from the maintenance date. Maintenance reporting to the local unit of government may be required by local ordinance. Check with your local SSTS program for maintenance reporting protocol.

Secure maintenance hole covers
	All maintenance hole covers must be returned to service in a sound and durable condition and be capable of withstanding the anticipated load. 

	Covers must be re-secured in accordance with Minn. R. 7080.2450, subp. 3, Items C or D:  

	a) Covers installed under local ordinances adopted after February 4, 2008 must be locked, bolted or screwed or must be 95 pounds in weight. They must be made of material suitable for outdoor use, resistant to ultraviolet degradation and leaks, and not susceptible to being slid or flipped. They must have a label warning of hazardous conditions inside the tank. All screw openings must be refastened.

	b) Covers installed under local ordinances adopted before February 4, 2008 must either be buried with at least 12 inches of soil cover or be secured according to the local ordinance in effect before February 4, 2008. 

	c) Covers must meet item ‘a’ above when raised to the ground surface or less than 12 inches from the ground surface. 


Reporting information

	Date of maintenance (mm/dd/yyyy):
	     
	Reason for maintenance:
	     

	Property address:
	     
	Parcel ID:
	     

	City:
	     
	State:
	     
	Zip code:
	     

	Property owner’s name:
	     

	Property-owner’s address if different:
	     

	City:
	     
	State:
	     
	Zip code:
	     

	Phone number:
	     
	Email address:
	     

	1.
	Did you measure the accumulation of scum and sludge?     Yes    No (tank(s) pumped without measuring)


	Tank (check if present)
	Scum
	Sludge
	Operating depth
	Percent full

	 FORMCHECKBOX 
 Septic/holding tank #1
	     
	     
	     
	     

	 FORMCHECKBOX 
 Septic/holding tank #2
	     
	     
	     
	     

	 FORMCHECKBOX 
 Pretreatment tank
	     
	     
	     
	     

	 FORMCHECKBOX 
 Pump tank
	     
	     
	     
	     


	2.
	Access used to remove septage:
	 Maintenance hole    Other (Unless a holding tank, go to #4 below)

	3.
	If the maintenance hole was used, were all covers secured in place?
	 Yes    No   If no, please explain below:

	
	     

	4.
	If the owner refuses to allow a Subsurface Sewage Treatment System (SSTS) to be pumped through the maintenance hole, have them complete and sign the following statement.

	
	I, 
	     
	, refuse to allow the removal of the solids and liquids through the maintenance 

	
	
	(Print owner’s name)
	

	hole. I understand that removal of solids and liquids through other access points is not considered a compliant method of solids removal and does not fulfill the solids removal requirements of Minn. R. 7080.2450 and 7082.0600.

	Owner’s signature:
	
	Date (mm/dd/yyyy):
	     


	Property address:
	     
	Parcel ID:
	     

	City:
	     
	State:
	     
	Zip code:
	     




	5.
	Is the tank designed as a leaky tank? (Example: seepage pit, cesspool, drywell, leaching pit)

	Tank #1:   Yes    No
	Verification method used:
	     

	Tank #2:   Yes    No
	Verification method used:
	     

	6.
	Is there evidence of the following?

	
	Tank (check if present)
	Tank leaks below the designed operating depth
	Tank leaks above the designed operating depth
	Maintenance hole cover is damaged, cracked, unsecured, or appears to be structurally unsound 

	
	 Septic/holding Tank #1
	 Yes    No
	 Yes    No
	 Yes    No

	
	 Septic/holding Tank #2
	 Yes    No
	 Yes    No
	 Yes    No

	
	 Pretreatment Tank
	 Yes    No
	 Yes    No
	 Yes    No

	
	 Pump Tank
	 Yes    No
	 Yes    No
	 Yes    No

	
	Describe detail for any “Yes”
	     
	     
	     

	7.
	How many gallons of septage were removed?

	Tank #1:
	     
	Tank #2:
	     
	Pretreatment Tank:
	     
	Pump Tank:
	     

	8.
	Where was the septage taken?  Wastewater treatment facility   Land application   Other

	
	Explanation (Facility name/Site #): 
	     

	9.
	Did you identify any operational issues or unsafe conditions while assessing the sewage tanks in this system?

	
	 No      If yes, identify tank and explain:
 Yes   
 Effluent screen condition Baffle(s) condition    Evidence of non-domestic waste   
 Other conditions (e.g. structural integrity of tank or lid, electrical hazard, etc.) Maintenance hole and extensions condition   

	
	Explanation:
	     

	10.
	List any troubleshooting and minor repairs completed or declined by owner: 

	
	 Troubleshooting and repairs conducted:
	 Repairs declined by owner:

	
	     
	     

	
	     
	     

	
	Additional comments or suggestions for owner’s consideration: 

	
	     


Pumping record

	I personally conducted the work described above on behalf of a Minnesota-licensed SSTS Maintenance Business, in compliance with Minnesota Rules Chapters 7080 – 7083: 

 FORMCHECKBOX 
 As a noncertified individual who has received proper training, daily work review, and periodic observation, or

 FORMCHECKBOX 
 As a designated certified individual of the business listed below.

	Company information
	
	Employee information

	Company name:
	     
	
	Print name:
	     

	Business license number:
	     
	
	Certification number: (if applicable):
	     

	Email:
	     
	
	Phone number:
	     

	Employee’s signature:
	
	Date (mm/dd/yyyy):
	     


	Property address:
	     
	Parcel ID:
	     

	City:
	     
	State:
	     
	Zip code:
	     




Optional section: Sewage Tank Compliance Certification

This form does not represent a complete system inspection report and only certifies sewage tank compliance status. 

Instructions:  This section of the form may be completed and signed by a Designated Certified Individual (DCI) of a licensed SSTS Maintenance Business who personally conducts the necessary procedures to assess the compliance status of each sewage tank in the system.
When this section of the form is signed by a qualified certified professional, it becomes necessary supporting documentation to an Existing System Compliance Inspection Report: Compliance inspection form - Existing system (wq-wwists4-31b). This form can be found on the MPCA website at https://www.pca.state.mn.us/water/ssts-and-msts-technical-and-compliance-criteria.

The information and certified statement on this form is required when existing septic tank compliance status is determined by an individual other than the SSTS Inspector that submits the inspection report. It represents a third party assessment of SSTS component compliance and is allowable under Minn. R. 7082.0700, subp. 4 Item (B) subitem (1). This form is valid for a period of three years beyond the signature date on this form unless a new evaluation is requested by the owner or owner’s agent or is required according to local regulations. Additional Administrative Rule references for this activity can be found at Minn. R. 7082.0700, subp. 4 Items B, C, and D; 7083.0730 Item C.
	 Certificate of sewage tank compliance
Affirm all three statements:

 The SSTS does not contain a seepage pit, cesspool, drywell, leaching pit, or other pit.

 It does not contain a sewage tank that was designed to be watertight, but subsequently leaks below the designed operating depth.

 It does not represent an imminent safety threat by reason of unsecured, damaged, or weak maintenance hole cover(s) or other unsafe condition.
	 Notice of sewage tank non-compliance

Select all that apply:

 The SSTS has a seepage pit, cesspool, drywell, leaching pit, or other pit.

 It has a sewage tank that was designed to be watertight, but subsequently leaks below the designed operating depth.

 It presents a threat to public safety by reason of unsecured, damaged, or weak maintenance hole cover(s) or other unsafe condition.


	Company information
	
	Designated Certified Individual (DCI) information

	Company name:
	     
	
	Print name:
	     

	Business license number:
	     
	
	Certification number:
	     

	I personally conducted the work described above as a Designated Certified Individual of a Minnesota-licensed SSTS Maintenance Business. I personally conducted the necessary procedures to assess the compliance status of each sewage tank in this SSTS:

	Designated Certified Individual’s signature:
	
	Date (mm/dd/yyyy):
	     


www.pca.state.mn.us
•
651-296-6300
•
800-657-3864
•
Use your preferred relay service
•
Available in alternative formats
wq-wwists4-38  •  1/27/17
Page 1 of 3

