GENERAL CONTRACTOR

SCOPE OF WORK

#### Churchill Court

######, GA  #####
Scope of Work

INTERIOR

Throughout

- Patch all walls and trim in preparation for paint.  Paint entire interior per our discussion

- Fix/replace outlets/covers as necessary (ensure matching colors and styles)

- Fix/replace switches/switch-plate covers as necessary (ensure matching colors and styles)

- Clean/scrape all windows and ensure proper operation.  Replace non-functional windows

- Reversed ground/neutral in most upstairs outlets

- Electrical issue (no outlet power) in bedrooms and master bath (short or improper wiring?)

- Use entry doors in best condition to replace closet doors

- Replace all room entry doors with new 6-panel doors

- Remove window screens from Living Room, Dining Room, and Kitchen windows

Kitchen

- Remove and frame existing door to outside, replace with picture window, finish with sheet-rock and trim on inside, and vinyl siding on outside Keep existing cabinet/countertop configuration

- Replace cabinets

- Replace countertops

- Tile backsplash behind counters

- Replace sink

- Replace sink faucet with goose-neck faucet

- Install garbage disposal

- Replace all appliances (stove, microwave, fridge, dishwasher)

- Replace light fixture

- Replace flooring with ceramic tile and level floor as necessary (may have sub-floor issues)

Dining Room

- Replace light fixture

- Fix or replace window (not seated properly)

- Replace carpet with laminate hardwood

- If possible, use chair-rail trim removed from Living Room and put around Dining Room

Living Room

- Remove paneling and chair-rail trim (use trim in Dining Room if possible)

- Replace paneling with sheetrock

- Add baseboards

- Replace Front Entry door and remove storm door

- Replace Back Entry door

- Replace carpet with laminate hardwood (including Living Room closet)

- Pressure wash fireplace

- Replace light/fan combo with fan only

- Install 6 cans recessed lighting (on separate switch from fan)

Hallway

- Remove entry door

- Replace carpet with new carpet

- Patch ceiling (next to attic door)

- Replace light fixture

- Replace AC filter

Hallway Bathroom

- Replace floor with ceramic tile (may be sub-floor issues)

- Replace toilet

- Replace vanity/sink

- Mount mirror and frame with trim

- Replace light fixture

- Resurface tub

- Clean tiles

- Replace shower water knobs (hot/cold water)

Laundry Room

- Replace vinyl flooring

- Use quarter-round baseboard to hide cracks between vinyl and baseboards

- Replace bi-fold door (include tracks, if necessary) and replace hardware on doors

- Move cabinet up 8” and paint cabinet

Bedroom #1

- Replace carpet with new carpet

- Replace fan/light

- Fix vent boot and replace cover

- Install new light switch

Bedroom #2

- Replace carpet with new carpet

- Replace fan/light

- Replace broken window

Master Bedroom

- Replace carpet with new carpet

- Replace fan/light

- New bi-fold doors on closet

Master Bathroom

- Replace toilet

- Remove vanity above toilet

- Replace vanity/sink

- Frame mirror with trim

- Replace light fixture

- Replace floor with ceramic tile

- Use same ceramic tile in shower and on shower walls

- Replace shower frame and door

- Replace shower water knobs (hot/cold water)

BASEMENT

Existing Issues

- Clean all evidence of mold and treat with biocide where appropriate

- Install Garage Door Opener

- Paint cinderblock walls and floors to remove graffiti.  Perhaps an epoxy to seal from moisture

- Remove top layer of soil from dirt pile (it has mold) and cover with vapor barrier

- Frame and seal off dirt area (paneling or sheetrock), leaving entryway door or alternate entryway

- Replace door to electrical panel (if you can just get the door, not the whole box)

Finish Unfinished Basement Space

- Per Our Walkthrough Discussion – Can clarify in separate document if necessary

- Frame and Sheetrock two new rooms and stairwell

- Add drop ceilings in offices and sheetrock ceiling in bedroom

- Cage off water heater

- Box the duct work

- Carpet in rooms

- Baseboard in rooms

- Install light fixtures, outlets, swith-plates

- Replace exit door with windowed-door

- Secure handrail on basement stairs

EXTERIOR

Roof

- Remove TV antenna

- “Tuck in” aluminum flashing/siding between the roof levels.  Ensure no gaps.

- Clean gutters

- If possible, improve appearance of aluminum flashing

Front Steps/Deck

- Replace steps (just treads, not stringer) leading up to front door

- Secure and align handrails on either side of steps

- Replace front porch with new decking boards (may not be necessary, your call)

- Replace railing around front deck as necessary for safety/aesthetics

- Stain front deck/steps

Exterior Siding/Trim

- Fix any damaged or poorly sealed trim around garage, doors, windows, etc

- Fix any damaged vinyl siding

- Paint Exterior (3-color scheme as discussed)

Pool/Deck Area

- Per Discussion – Can clarify in separate document if necessary

- Demo pool and most of deck surrounding pool

- Demo side deck coming off kitchen

- Replace boards with new decking boards (salvage as much frame as possible)

- Move Jacuzzi onto remaining deck (?)

- Repair Jacuzzi frame as necessary (?)

- Replace Jacuzzi top (?)

- Add motion sensor light outside kitchen (to replace existing light)

- Add picket railing around entire deck

- Salvage planter boxes and place in deck corners

- Stain back steps/decks

Kitchen Door/Window

- Replace vinyl siding below window where door previously was

- Trim as necessary