## Sheet1
Pricing Comparison Chart
System Specifications Scenario >> | Commercial Array- 35° | Commercial Rooftop- 0° | Commercial Rooftop- 35° | Residential Rooftop- 0° | Residential Rooftop- 35° | NOTES
System Size (kW) | 250 | 250 | 250 | 410 | 410 | How many watts produced at a standard irradiance level of 1,000 w/m2 at 77° F
Price- Solar Cells | 177500 | 177500 | 177500 | 287000 | 287000 | Cost of the module (solar cells) based on system size
Price- Inverter | 52500 | 52500 | 52500 | 135300 | 135300 | Cost of the inverter based on system size
Price- Balance of System (B.O.S.) | 142500 | 142500 | 142500 | 336200 | 336200 | Cost of the B.O.S. based on system size
Price - Installation Labor | 37500 | 37500 | 37500 | 123000 | 123000 | Cost of installation labor based on system size
Price- Installer Margin and Overhead | 187500 | 187500 | 187500 | 389500 | 389500 | Cost of installer margin and overhead based on system size
Price- Permitting and Environmental Studies | 15000 | 15000 | 15000 | 41000 | 41000 | Cost to gain permitting and environmental licensing based on system size
Estimated Total | 612500 | 612500 | 612500 | 1312000 | 1312000 | Total price per watt, based on system size
Sales Tax Basis (percent) | 82% | 82% | 82% | 82% | 82% | Assumed tax values from NREL's System Advisor Module
Sales Tax Rate (percent) | 5% | 5% | 5% | 5% | 5% | Assumed tax values from NREL's System Advisor Module
Total Cost | 25112.5 | 25112.5 | 25112.5 | 53792 | 53792 | Total price per watt after sales taxes are accounted for
Total Cost of System (per Unit) | 15181.25 | 15181.25 | 15181.25 | 32518.8571 | 32518.8571 | Total price of the system for one of the 41 units
Total Cost of System (Pre-Incentives) | 637612.5 | 637612.5 | 637612.5 | 1365792 | 1365792 | Total price of the system for all 41 units, before state and federal incentives
Federal Incentives (Percent) | 30% | 30% | 30% | 30% | 30% | The cost eliminated from the total due to the 30% federal incentives
Federal Incentives (Amount) | 191283.75 | 191283.75 | 191283.75 | 409737.6 | 409737.6 | Calculation of the 30% federal incentive
State Incentives (Percent) OR ($9,000 max) | 10% | 10% | 10% | 10% | 10% | The cost eliminated from the total due to the 10% state incentives
State Incentives (Amount) | 63761.25 | 63761.25 | 63761.25 | 3331.2 | 3331.2 | Calculation of the 10% state incentive
State Incentive | 9000 | 9000 | 9000 | 3331.2 | 3331.2 | Actual State Incentive that will be applied
Capital Cost | 437328.75 | 437328.75 | 437328.75 | 819475.2 | 819475.2 | Final total cost of system for all 41 units, after state and federal incentives
Total System Cost per year (over 30 years) | 14577.625 | 14577.625 | 14577.625 | 27315.84 | 27315.84 | Cost per year of the system over 30 years
Maintenance (per year) | 5000 | 5000 | 5000 | 8200 | 8200 | Estimated cost of maintaining system for each kW produced over a year
Total Annual Cost | 19577.625 | 19577.625 | 19577.625 | 35515.84 | 35515.84 | Total cost (including maintenance) per year of the system over 30 years
Current Annual Electricity Costs (Without System) | 36679.91 | 36679.91 | 36679.91 | 35049.55 | 35049.55 | Average power costs for the community without the solar energy system per year
Net Financial Benefit | 17102.285 | 17102.285 | 17102.285 | -466.29 | -466.29 | Financial benefit calculated each year for the community
Net Financial Benefit per housing unit | 417.1289 | 417.1289 | 417.1289 | -11.3729 | -11.3729 | Financial benefit calculated each year for each unit in the development
*Data from Recommended Size Systems: | 250kW | 250 kW | 250 kW | 410 kW | 410 kW | Recommended system size for the housing development
Annual Electricity Costs (With System) | -2915.23 | 735.24 | -2769.19 | -5512 | -8407.91 | Average power costs for the community with the solar energy system per year
Annual Savings (With System)(with Recommended size system) | 39595.14 | 37415.15 | 39449.1 | 40561.55 | 43457.46 | How much money is saved per year for all 41 units
Payback Period in Years (Total cost/Savings) | 11.045 | 11.6885 | 11.0859 | 20.2033 | 18.857 | The amount of time it takes for the system to be paid off
*Annual savings with system is a number taken directly from Nrel system advisor module. This number has no set equation so cannot be built into the working document