## Price Comparison
|  | RCP | [11 empty] | HDPE
|  | Pipe | Total Pipe | Total | Aggregate | Disposal | Compaction | Inspection | Total |  |  |  |  | Pipe | Total Pipe | Total | Aggregate | Disposal | Compaction | Inspection | Total | 0 |  | Pipe | Total Pipe | Total | Aggregate | Disposal | Compaction | Inspection | Total
Pipe | Pipe | Cost | Cost per | Aggregate | Cost | Cost | Cost | Cost | Pipe & Aggregate |  |  | Pipe | Pipe | Cost | Cost per | Aggregate | Cost | Cost | Cost | Cost | Pipe & Aggregate | Pipe | Pipe | Cost | Cost per | Aggregate | Cost | Cost | Cost | Cost | Pipe & Aggregate
Dia., in | Qty., L.F. | $/L.F. | Size, $ | Req'd, ft^3/ft | $ | $ | $ | $ | Cost, $ |  |  | Dia., in | Qty., L.F. | $/L.F. | Size, $ | Req'd, ft^3/ft | $/L.F. | $/LF | $/LF | S/LF | Cost, $ | Dia., in | Qty., L.F. | $/L.F. | Size, $ | Req'd, ft^3/ft | $/L.F. | $/L.F. | $/LF | S/LF | Cost, $
12 | 120 | 120 | 14400 | 2.3574 | 318.2522 | 530.4204 |  |  | 15248.6726 |  |  | 12 | 120 | 50 | 6000 | 4.5955 | 620.386 | 1033.9766 |  |  | 7654.3626 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | 0 | #N/A
15 | 0 | 0 | 0 | 2.8146 | 0 | 0 |  |  | 0 |  |  | 15 | 0 | 0 | 0 | 5.908 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | 0 | #N/A
18 | 0 | 0 | 0 | 3.29 | 0 | 0 |  |  | 0 |  |  | 18 | 0 | 0 | 0 | 7.3602 | 0 | 0 |  |  | 0
24 | 0 | 0 | 0 | 4.2956 | 0 | 0 |  |  | 0 |  |  | 24 | 0 | 0 | 0 | 9.9739 | 0 | 0 |  |  | 0
30 | 0 | 0 | 0 | 5.3743 | 0 | 0 |  |  | 0 |  |  | 30 | 0 | 0 | 0 | 14.0147 | 0 | 0 |  |  | 0
36 | 0 | 0 | 0 | 6.5259 | 0 | 0 |  |  | 0 |  |  | 36 | 0 | 0 | 0 | 17.4622 | 0 | 0 |  |  | 0
42 | 0 | 0 | 0 | 7.7506 | 0 | 0 |  |  | 0 |  |  | 42 | 0 | 0 | 0 | 21.267 | 0 | 0 |  |  | 0
48 | 0 | 0 | 0 | 9.0483 | 0 | 0 |  |  | 0 |  |  | 48 | 0 | 0 | 0 | 25.429 | 0 | 0 |  |  | 0
54 | 0 | 0 | 0 | 10.4191 | 0 | 0 |  |  | 0 |  |  | 54 | 0 | 0 | 0 | 30.3411 | 0 | 0 |  |  | 0
60 | 0 | 0 | 0 | 11.8628 | 0 | 0 |  |  | 0 |  |  | 60 | 0 | 0 | 0 | 35.6726 | 0 | 0 |  |  | 0
|  |  | 14400 | [5 empty] | 15248.6726 | [5 empty] | 6000 | [5 empty] | 7654.3626
Assumptions: |  | 1. RCP Backfill Cost |  | 18 | per ton @ | 125 | lbs/ft^3 |  | Disposal | 30 | per ton @ | 125 | lbs/ft^3 | [8 empty] | Assumptions: |  | 1. RCP Backfill Cost |  | 0 | per ton @ | 0 | lbs/ft^3 |  | Disposal | 0 | per ton @ | 0 | lbs/ft^3
|  | 2. HDPE Backfill Cost |  | 18 | per ton @ | 125 | lbs/ft^3 |  | Disposal | 30 | per ton @ | 125 | lbs/ft^3 | [10 empty] | 2. HDPE Backfill Cost |  | 0 | per ton @ | 0 | lbs/ft^3 |  | Disposal | 0 | per ton @ | 0 | lbs/ft^3
|  | RCP | [11 empty] | HDPE | [9 empty] | RCP | [7 empty] | HDPE
Pipe |  | Trench | Bedding | Fill | Fill Above | Required | [5 empty] | Pipe |  | Trench | Bedding | Fill | Fill Above | Required |  |  |  | Pipe |  | Trench | Bedding | Fill | Fill Above | Required |  | Pipe |  | Trench | Bedding | Fill | Fill Above | Required
Diameter, in, | O.D., in. | Width, in. | Depth, in. | Point | Crown, in. | Select, ft^3/ft. | [5 empty] | Diameter, in. | O.D., in. | Width, in. | Depth, in. | Point | Crown, in. | Select, ft^3/ft. |  |  |  | Diameter, in, | O.D., in. | Width, in. | Depth, in. | Point | Crown, in. | Select, ft^3/ft. |  | Diameter, in, | O.D., in. | Width, in. | Depth, in. | Point | Crown, in. | Select, ft^3/ft.
12 | 16 | 40 | 3 | 50% | 0 | 2.3574 | [5 empty] | 12 | 14.5 | 33.75 | 4 | 100% | 6 | 4.5955 |  |  |  | 12 | 16 | 40 | 3 | 50% | 0 | 2.3574 |  | 12 | 14.5 | 33.75 | 4 | 100% | 6 | 4.5955
15 | 19.5 | 43.5 | 3 | 50% | 0 | 2.8146 | [5 empty] | 15 | 18.25 | 39.375 | 4 | 100% | 6 | 5.908 |  |  |  | 15 | 19.5 | 43.5 | 3 | 50% | 0 | 2.8146 |  | 15 | 17.6 | 38.4 | 4 | 100% | 6 | 5.6705
18 | 23 | 47 | 3 | 50% | 0 | 3.29 | [5 empty] | 18 | 22 | 45 | 4 | 100% | 6 | 7.3602 |  |  |  | 18 | 23 | 47 | 3 | 50% | 0 | 3.29 |  | 18 | 21.2 | 43.8 | 4 | 100% | 6 | 7.0387
24 | 30 | 54 | 3 | 50% | 0 | 4.2956 | [5 empty] | 24 | 28 | 54 | 4 | 100% | 6 | 9.9739 |  |  |  | 24 | 30 | 54 | 3 | 50% | 0 | 4.2956 |  | 24 | 27.7 | 53.55 | 4 | 100% | 6 | 9.8348
30 | 37 | 61 | 3 | 50% | 0 | 5.3743 | [5 empty] | 30 | 36 | 66 | 4 | 100% | 6 | 14.0147 |  |  |  | 30 | 37 | 61 | 3 | 50% | 0 | 5.3743 |  | 30 | 35.1 | 64.65 | 4 | 100% | 6 | 13.5284
36 | 44 | 68 | 3 | 50% | 0 | 6.5259 | [5 empty] | 36 | 42 | 75 | 4 | 100% | 6 | 17.4622 |  |  |  | 36 | 44 | 68 | 3 | 50% | 0 | 6.5259 |  | 36 | 41.1 | 73.65 | 4 | 100% | 6 | 16.9223
42 | 51 | 75 | 3 | 50% | 0 | 7.7506 | [5 empty] | 42 | 48 | 84 | 4 | 100% | 6 | 21.267 |  |  |  | 42 | 51 | 75 | 3 | 50% | 0 | 7.7506 |  | 42 | 47.7 | 83.55 | 4 | 100% | 6 | 21.0682
48 | 58 | 82 | 3 | 50% | 0 | 9.0483 | [5 empty] | 48 | 54 | 93 | 4 | 100% | 6 | 25.429 |  |  |  | 48 | 58 | 82 | 3 | 50% | 0 | 9.0483 |  | 48 | 53.7 | 92.55 | 4 | 100% | 6 | 25.2124
54 | 65 | 89 | 3 | 50% | 0 | 10.4191 | [5 empty] | 54 | 60.5 | 102.75 | 4 | 100% | 6 | 30.3411 |  |  |  | 54 | 65 | 89 | 3 | 50% | 0 | 10.4191 |  | 54 | 61 | 103.5 | 4 | 100% | 6 | 30.7363
60 | 72 | 96 | 3 | 50% | 0 | 11.8628 | [5 empty] | 60 | 67 | 112.5 | 4 | 100% | 6 | 35.6726 |  |  |  | 60 | 72 | 96 | 3 | 50% | 0 | 11.8628 |  | 60 | 66.3 | 111.45 | 4 | 100% | 6 | 35.0783
[23 empty] | ID | OD | Inspection Cost | LF/HR | $/hr | lift (in) | LF Compacted
[22 empty] | RCP | 0 | #N/A | 0 | 0 | 0 | 8 | #N/A
[22 empty] | Plastic | 0 | #N/A | 0 | 0 | 0 | 6 | #N/A
Note on N26: Margarita Takou: I changed the OD for HDPE based on: http://www.adspipe.com/pdf/en/ADS_N12_WT_F2648_Pipe_specification.pdf

## Results
American Concrete Pipe Association
Installation Comparison Calculation
RCP vs. Plastic Pipe
There are fundamental differences between concrete pipe (rigid pipe) and plastic pipe (flexible pipe).
One fundamental difference is that rigid pipe is a structure whereas flexible pipe is essentially a liner and the structure is built in the fields.
Example: 36" concrete and plastic pipe installed in a trench
|  | Enter Diameter of Pipe: |  | (inches)
|  | Enter length of pipe: |  | (linear feet)
| Enter cost of RCP |  | ($/lf) |  | Enter cost of Plastic Pipe
| Enter cost of RCP backfill |  | ($/ton) |  | Enter cost of Plastic Pipe backfill
| Enter Unit Weight of RCP backfill |  | (lbs/cf) |  | Enter Unit Weight of Plastic Pipe backfill
| No. of Linear ft. Compacted per Hour |  | (ft/hr) |  | No. of Linear ft. Compacted per Hour
| Compaction Cost |  | ($/hr) |  | Compaction Cost
| Enter disposal cost of native soil |  | ($/ton) |  | Enter disposal cost of native soil
| Enter Unit Weight of native soil |  | (lbs/cf) |  | Enter Unit Weight of native soil
| Cost of Post Installation Inspection |  | ($/lf) |  | Cost of Post Installation Inspection
Total Cost of RCP Installed |  | Enter Cost | (includes pipe | Enter Cost | Total cost of Plastic Pipe Installed:
backfill)*
Per AASHTO, the RCP minimum trench width for Type I, II and III installations are as follows and will be used for these pipe envelope calculations:
Do + 1/6 Do on either side of the pipe or Do + 12" on either side of the pipe, whichever is greater
Per AASHTO, the minimum trench width for Type IV installations is Do + 1/6 Do on either side of the pipe
Per AASHTO, the following trench widths are required for plastic pipe and will be used for these pipe envelope calculations:
1.5Do + 12"