Power Drive Controls  
1846 Santo Domingo                                              Tel:  (805)407-2258

Camarillo, CA 93012
                                            Fax:  (805) 388-4634
U. S. A.



                 E-mail:  dashengpan@yahoo.com
--------------------------------------------------------------------------------------------

-------------------------------------------------------------------------------------
Request for quote form for 3 phase FC6 and single phase FC4

	Model
	Frequency (Hz)
	Number of  SCR
	SCR Circuit Arrangement
	SCR Input Voltage (Vac)

	
	60
	50
	6
	3
	DC
	AC
	120
	240
	380

	FC6
	*
	
	*
	
	*
	
	
	*
	

	
	
	
	
	

	
	60
	50
	4
	2
	DC
	AC
	120
	240
	

	FC4
	
	
	
	
	
	
	
	
	


The part number will be the following format with selected parameters.

              FC6-60/50-6/3-DC/AC-120/240/380/

              FC4-60/50-4/2-DC/AC-12/240

Example: 3 phase DC converter with 240 VAC 60 Hz main power line, use 6 SCR to    

                 convert AC to DC for DC load, like above table with * selected.

The part number will be:
            FC6-60-6-DC-240       

    FC6 -    -     -    -                   Quantity:______

    FC4 -    -     -    -                   Quantity:______

-------------------------------------------------------------------------------------

