| CLEANING SCHEDULE |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MINIMUM CLEANING FREQUENCY & METHOD OF ELEMENTS WITHIN SPECIFIED RISK CATEGORIES |  |  |  |  |  |  |  |  |  |  |  |
|  |  | PLEASE NOTE: | 1. "As required" means when the item is visibly soiled. |  |  |  |  |  |  |  |  |
|  |  |  | 2. If any element is visibly soiled it will require cleaning in addition to the specified frequency. |  |  |  |  |  |  |  |  |
|  |  | MINIMUM CLEANING FREQUENCY |  |  |  |  | CLEANING METHOD |  |  | DISCHARGE CLEANING |  |
| No. | ELEMENT | Apply during a Standard Clean or Isolated Case Clean |  |  | Apply during an Outbreak Clean |  | Apply during a Standard clean | Apply for a single case and an outbreak clean |  | Apply during a Standard clean | Apply for a single case and an outbreak clean |
|  |  | LOW RISK FUNCTIONAL AREA | MODERATE RISK FUNCTIONAL AREA | HIGH RISK FUNCTIONAL AREA | VERY HIGH RISK |  | STANDARD CLEAN | TRANSMISSION BASED PRECAUTIONS CLEAN |  | STANDARD DISCHARGE CLEAN | TRANSMISSION BASED PRECAUTIONS DISCHARGE CLEAN |
| Patient room |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Bed components:- (including cots) bed safety rails (contact points) bed frame & attachments (contact points) (eg, alcohol rub dispenser, notes folder, clipboard) underneath bed (frame) | Weekly - As required - As required | Daily Daily * As required | Daily Daily * As required | Twice daily Daily * As required |  | Detergent | Detergent + disinfectant |  |  (all surfaces) |  |

| 2 | Call bell, TV remote, bedside telephone | Weekly | Daily | Daily | Daily |  | Detergent | Detergent + disinfectant |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 3 | Chair | Weekly | Daily | Daily | Twice daily |  | Detergent | Detergent + disinfectant |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 4 | High touch surfaces in immediate patient areas (ie, door knobs, handles, light switches, hand basin) | Weekly and spot clean daily | Daily | Daily | Twice Daily |  | Detergent | Detergent + disinfectant |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 5 | Locker (contact points) | Weekly | Daily | Daily | Twice daily |  | Detergent | Detergent + disinfectant |  |  (all surfaces) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 6 | Mattress & pillow (waterproof covering) | * As required | * As required | * As required | * As required |  | Detergent | Detergent + disinfectant |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 7 | Overway & bedside table (contact points) | Weekly | Daily | Daily | Twice daily |  | Detergent | Detergent + disinfectant |  |  (all surfaces) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 8 | Patient bedside monitor screen (contact points) | Weekly | Daily | Daily | Twice daily |  | Detergent | Detergent + disinfectant NOTE: only use approved disinfectant on monitors as it may damage screens |  |  (all surfaces) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Non-movable fixtures and fittings (all functional areas)

| 9 | Air vents external surfaces (ceiling) | Annual & spot clean as required | Annual & spot clean as required | Annual & spot clean as required | Annual & spot clean as required |  | Detergent / damp dust | Detergent + disinfectant |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 10 | Door vents | Weekly | Weekly | Weekly | Weekly |  | Detergent / damp dust | Detergent + disinfectant |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 11 | Floor (Carpet)** NOTE: Carpet is NOT recommended in patient-care environments. | Vacuum weekly Wash/ steam clean every 1 - 2 years (depending on traffic) | Vacuum Daily Wash/steam clean 6-monthly to annually | Vacuum Daily Wash/Steam clean - Patient room: monthly - All other areas: 6-monthly to annually | Vacuum twice daily Wash/steam clean weekly |  | Vacuum with HEPA filter Shampoo or steam clean | Vacuum with HEPA filter Shampoo or steam clean |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 12 | Floor (Non-carpet) NOTE: Frequency may need to be increased depending on traffic, manufacturers specifications & nature/condition of flooring. | Dust removal and clean twice-weekly | Dust removal and clean daily | Dust removal and clean daily | Dust removal and clean twice daily |  | Detergent for routine. NOTE: Consider electrostatic mops when appropriate | Detergent + disinfectant NOTE: check disinfectant is compatible with surface material |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 13 | Glazing, internal excl high windows (e.g. windows, glass partitions) | Spot clean and/or wash as required | Spot clean and/or wash as required | Spot clean and/or wash as required | Spot clean and/or wash as required |  | Glass/Window Cleaner | Glass/Window Cleaner |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 14 | Patient bedside curtains NOTE: if antimicrobial curtains are used frequency may be adjusted according to manufacturer's recommendations. | Annually | Twice per year | Monthly | Weekly |  | Replace with laundered curtains | Replace with laundered curtains |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 15 | Horizontal surfaces (general) | Weekly | Daily | Daily | Twice daily |  | Detergent | Detergent + disinfectant |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 16 | Wall mounted TV, curtain rails, light fittings | Monthly | Weekly | Weekly | Weekly |  | Detergent / damp dust | Detergent + disinfectant |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 17 | Wall-mounted oxygen & suction equipment | Monthly | Weekly | Daily | Daily |  | Detergent | Detergent + disinfectant |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 18 | Walls + ceilings | Spot clean and/or wash as required | Spot clean and/or wash as required | Spot clean and/or wash as required | Spot clean and/or wash as required |  | Detergent / damp dust | Detergent / damp dust |  |  |  (NOTE: spot clean only) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 19 | Window treatment (blinds, curtains) | Every 2 years & as required | Annual & as required | Annual & as required | Annual & as required |  | Replace with laundered curtains or steam clean while in place. | Replace with laundered curtains or steam clean while in place. |  |  | / (NOTE: advice should be sought from local Infection Control Co-ordinator) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  | MINIMUM CLEANING FREQUENCY |  |  |  |  | CLEANING METHOD |  |  | DISCHARGE CLEANING |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | ELEMENT | Apply during a Standard Clean or Isolated Case Clean |  |  | Apply during an Outbreak Clean |  | Apply during a Standard clean | Apply for a single case and an outbreak clean |  | Apply during a Standard clean | Apply for a single case and an outbreak clean |
|  |  | LOW RISK FUNCTIONAL AREA | MODERATE RISK FUNCTIONAL AREA | HIGH RISK FUNCTIONAL AREA | VERY HIGH RISK |  | STANDARD CLEAN | TRANSMISSION BASED PRECAUTIONS CLEAN |  | STANDARD DISCHARGE CLEAN | TRANSMISSION BASED PRECAUTIONS DISCHARGE CLEAN |

|  |  |  |  | Shared patient equipment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | NOTE: if the below mentioned elements cannot be adequately cleaned they are required to be disposable. Cleaning of these items between patient use is normally performed by nursing staff |  |  |  |  |  |  |  |  |
| 20 | Blood pressure cuff | Between patient use | Between patient use | Between patient use | Between patient use |  | Detergent | Detergent + disinfectant |  |  |

| 21 | Commode | Weekly & between patient use | Daily & between patient use | Daily & between patient use | Daily & between patient use |  | Detergent + disinfectant | Detergent + disinfectant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 22 | Diagnostic equipment | Weekly & between patient use | Weekly & between patient use | Weekly & between patient use | Weekly & between patient use |  | Detergent. (Follow manufacturer's recommendations). | Detergent + disinfectant Follow manufacturer's recommendations. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 23 | IV stand & poles | Monthly & between patient use | Weekly & between patient use | Daily & between patient use | Daily & between patient use |  | Detergent | Detergent + disinfectant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 24 | Manual handling equipment (ie, hoists, patient slide board, slings) | Between patient use | Between patient use | Between patient use | Between patient use |  | Detergent | Detergent + disinfectant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 25 | Medical equipment (eg, IV infusion, pumps, mobile oxygen, pulse oximeters) | Weekly & between patient use | Daily & between patient use | Daily & between patient use | Daily & between patient use |  | Detergent | Detergent + disinfectant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Frequency refers to when the element is in use (not in a storeroom)

| 26 | Nebuliser, portable (when in use) | Monthly & between patient use | Weekly & between patient use | Daily & between patient use | Daily & between patient use |  | Detergent | Detergent + disinfectant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Between patient use means between individual patients and cleaning of only contact points and other surfaces as required

| 27 | Telephone (ward cordless) | Between patient use | Between patient use | Between patient use | Between patient use |  | Detergent | Detergent + disinfectant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Upon patient discharge or before storage thoroughly clean all surfaces

| 28 | Trolley (dressing, resuscitation, etc.) | Monthly & between patient use | Weekly & between patient use | Twice weekly & between patient use | Daily & between patient use |  | Detergent | Detergent + disinfectant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 29 | Urinary catheter stand / bracket | Monthly & between patient use | Weekly & between patient use | Daily & between patient use | Daily & between patient use |  | Detergent + disinfectant | Detergent + disinfectant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 30 | Washbowl, patient | Between patient use | Between patient use | Between patient use | Between patient use |  | Detergent | Detergent + disinfectant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 31 | Wheelchair | Monthly & between patient use | Monthly & between patient use | Daily & between patient use | Daily & between patient use |  | Detergent | Detergent + disinfectant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 32 | Fan, patient (contact points only) | Weekly & between patient use | Daily & between patient use | Daily & between patient use | Daily & between patient use |  | Detergent | Detergent + disinfectant |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Wet areas |  |  |  |  |  |  |  |  |  |  |
| 33 | Single patient use facilities (includes: hand basin, bidet, toilet, toilet-seat raiser, soap & paper dispenser, shower, bath, floor) | Daily | Daily | Daily | Daily |  | Detergent + disinfectant | Detergent + disinfectant |  |  |  |
| 34 | Shared patient ensuite and/or communal use facilities (includes: hand basin, bidet, urinal/toilet, toilet-seat raiser, soap & paper dispenser) | Daily ++ | Daily ++ | Twice Daily ++ | Twice Daily ++ |  | Detergent + disinfectant | Detergent + disinfectant |  |  |  |
|  | Shower cubicle | Daily & spot clean after use | Daily & spot clean after use | Daily & spot clean after use | Daily & spot clean after use |  |  |  |  |  |  |
|  | Shower curtain | replace monthly & clean as required | replace monthly & clean as required | replace monthly & clean as required | replace & clean as required |  |  |  |  |  |  |
|  | Bath | Daily & after use | Daily & after use | Daily & after use | Daily & after use |  |  |  |  |  |  |
| 35 | Toilet facilities (general public, non-patient use) | Daily ++ | Daily ++ | Daily ++ | Daily ++ |  | Detergent + disinfectant | Detergent + disinfectant |  |  |  |
| 36 | Bathroom air vents (external surfaces) | Monthly & as required | Monthly & as required | Monthly & as required | Monthly & as required |  | Detergent + disinfectant | Detergent + disinfectant |  |  |  |
|  |  | ++ = means that the hospital administration will need to factor in the usage and where necessary increase the scheduled frequency of cleaning to ensure standards are adequately maintained. |  |  |  |  |  |  |  |  |  |

|  |  | MINIMUM CLEANING FREQUENCY |  |  |  |  | CLEANING METHOD |  |  | DISCHARGE CLEANING |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | ELEMENT | Apply during a Standard Clean or Isolated Case Clean |  |  | Apply during an Outbreak Clean |  | Apply during a Standard clean | Apply for a single case and an outbreak clean |  | Apply during a Standard clean | Apply for a single case and an outbreak clean |
|  |  | LOW RISK FUNCTIONAL AREA | MODERATE RISK FUNCTIONAL AREA | HIGH RISK FUNCTIONAL AREA | VERY HIGH RISK |  | STANDARD CLEAN | TRANSMISSION BASED PRECAUTIONS CLEAN |  | STANDARD DISCHARGE CLEAN | TRANSMISSION BASED PRECAUTIONS DISCHARGE CLEAN |
|  | Other areas / elements |  |  |  |  |  |  |  |  |  |  |
| 37 | Plant room, engineering workshop, non-sterile supply, record storage | Monthly | N/A | N/A | N/A |  | Detergent |  |  |  |  |
| 38 | Barouche | Monthly & between patient use | Monthly & between patient use | Monthly & between patient use | Monthly & between patient use |  | Detergent | detergent + disinfectant |  |  |  |
| 39 | Cleaners room | Weekly & as required | Weekly & as required | Weekly & as required | Weekly & as required |  | Detergent |  |  |  |  |
| 40 | Cleaning equipment | After use | After use | After use | After use |  | Detergent | Detergent + disinfectant |  |  |  |
| 41 | Drug room | Weekly | Daily | Daily | Daily |  | Detergent | Detergent + disinfectant |  |  |  |
| 42 | Equipment reprocessing areas (ie, non-central) | Daily | Daily | Daily | Daily |  | Detergent + disinfectant | Detergent + disinfectant |  |  |  |
| 43 | Fridge (includes patient use, staff use food storage) | Monthly & defrost as required Daily spot check Clean when necessary | Monthly & defrost as required Daily spot check Clean when necessary | Monthly & defrost as required Daily spot check Clean when necessary | Monthly & defrost as required Daily spot check Clean when necessary |  | Detergent + Food Grade Sanitiser |  |  |  |  |
| 44 | Fridge (incl blood, vaccine storage) Usually performed by nursing staff | Monthly & defrost as required Daily spot check Clean when necessary | Monthly & defrost as required Daily spot check Clean when necessary | Monthly & defrost as required Daily spot check Clean when necessary | Monthly & defrost as required Daily spot check Clean when necessary |  | Detergent |  |  |  |  |
| 45 | High touch surfaces excluding immediate patient areas (eg, corridor hand rails, alcohol hand rub dispenser, door knobs, elevator controls) | Weekly Spot clean as required | Daily | Daily | Twice Daily |  | Detergent | Detergent + disinfectant |  |  |  |
| 46 | Nurses station (benches, computers & keyboards) | Daily | Daily | Daily | Daily |  | Detergent | detergent + disinfectant |  |  |  |
| 47 | Pan Room /dirty utility | Daily | Daily | Daily | Twice daily |  | Detergent + disinfectant | Detergent + disinfectant |  |  |  |
| 48 | Soiled linen skip/trolley | Weekly | Weekly | Weekly | Contact points: daily Whole: weekly |  | Detergent | Detergent + disinfectant |  |  |  |
| 49 | Telephone (fixed ward & public) | Daily | Daily | Daily | Daily |  | Detergent | Detergent + disinfectant |  |  |  |
| 50 | Television (public areas) | Weekly | Weekly | Weekly | Weekly |  | Detergent |  |  |  |  |
| 51 | Treatment chair (eg, haemodialysis, chemotherapy, dental, podiatry) | NA | Daily and between patients | Daily and between patients | Daily and between patients |  | Detergent + disinfectant | Detergent + disinfectant |  |  |  |
| 52 | Treatment room surfaces (e.g. benchtops, cupboards, etc) | NA | Daily & as required | Daily & as required | Daily & as required |  | Detergent | Detergent + disinfectant |  |  |  |
| 53 | Waste receptacle (NOTE: MGB & sharps bin are excluded) | Weekly & spot clean as required | Weekly & spot clean as required | Weekly & spot clean as required | Weekly & spot clean as required |  | Detergent | Detergent + disinfectant |  |  |  |
| 54 | Ward pantry / kitchenette (incl. microwave) | Daily | Daily | Daily | Daily |  | Detergent + Food Grade Sanitiser |  |  |  |  |